Liquid-cooled models with 3.0 liter engines or smaller use RTS transfer switches (100-400 amps).

Liquid-cooled models with engines over 3.0 liters use HTS transfer switches (100-800 amps).

For more information please see the Transfer Switch page.

Note: Prior to choosing a generator size, always check the appliance or equipment manufacturer's power requirements. This will help to ensure power accommodations for items that cycle during operation.